Department of Jute & Fibre Technology

Institute of Jute Technology

University of Calcutta

35, Ballygunge Circular Road,

Kolkata -700 019

Notice

Inviting quotation/memo No: DJFT/IJT/CU/UGC-Dev. Grant-Lab Equipment / 102           Dated 3rd June 2014

A/C Head: DJFT/IJT/CU/UGC-Dev. Grant-Lab Equipment

Name of the Equipment: Procurement of LCD Projector and Interactive digitizer pen for Jute diversified product Design Laboratory of DJFT, IJT, CU

Sealed quotations are invited for Procurement of LCD Projector and Interactive digitizer pen for Jute diversified product Design Laboratory of DJFT, IJT, CU   from bonafied, resourceful suppliers/ agent dealers empanelled in Calcutta University for supply of this type of equipment /materials from reputed manufacturer of following specification having OEM Authorisation.

| Sl. No. | Items (Description of LCD Projector and Interactive digitizer pen for Jute diversified product Design laboratory of DJFT,IJT,CU.) | Qty. |
| --- | --- | --- |
| 1. | LCD Projector Model - EB-X03 or equivalent with 2700 ANSI Lumens brightness, XGA (1024 x 768 Pixels) resolution, data transfer from USB cable, 10000 :1 contrast ratio, remote slide operation, Lamp Life 6000 hrs., instant off facility etc | 1 No |
| 2. | Ceiling Mount Kit for LCD Projector | 1 No |
| 3. | 15 meter VGA cable & Power cable for LCD Projector. | 1 Set |
| 4. | Interactive Pen Display having Screen size- 15.6-inch, Adjustable stand (incline from vertical)- 15° to 72°, USB 2.0 hubs- 2 (1 on each side of the display), Operating temperature- 5℃ to 35℃, Operating humidity- 20% to 80% RH. Windows OS compatibility- 7 / Vista / XP / 2000, Macintosh OS compatibility. Battery-free & cordless pen, Pen pressure levels- 512 level. Model -DTU-1631 or equivalent | 1 No |
|  | TOTAL |  |

Terms and Condition.

- The intending suppliers/bidders will have to submit their rates in specific items & quantities mentioning detailed specification and warranty period of the equipment to be supplied by them.

- Only Calcutta University empanelled Lab equipment and accessories suppliers are only eligible to submit their bid with tender specific OEM authorisation.

- If require, the intended suppliers / bidders may visit the site to assess the practical need and requirement may quote accordingly.

- Each bidder has to submit their credential of after sales service with documentary evidence.

- Each bidder has to submit the copy of current trade licence, copy of vat registration, copy of pan card etc. as per CU rules.

- Rates to be quoted are inclusive of cost of materials, vat, and all other charges (if any) in complete net value in INR.

- The suppliers/ bidders are requested to quote their rates in figures as well as in words.

- Quotations will be received by the office of the HOD, DJFT, IJT, CU within 15 days that is up to 18th June 2014 at 5-00 pm.

- Quotation in sealed envelope super scripting (“DJFT/  CU – quotation for Procurement of LCD Projector and Interactive digitizer pen for Jute diversified product Design Laboratory under UGC – Dev. Grant of CU)

- Suppliers / Bidders may note that payment etc. will be guided by CU financial norms and guidelines for this particular projects funded under UGC / DEV. Grant 2014-15.

- Suppliers/ Bidders must maintain the delivery period and no. of days for installation and demonstration and training for running the same.

- This department / CU is not bound to accept the lowest quotation and may reject any or all quotations without assigning any reason thereof.

Prof. A. K. Samanta

Head of the Department & Project Coordinator

Department Of Jute and Fibre Technology

Institute Of Jute Technology

Calcutta University